## Six Cities 1-17
DesertLink, LLC
2022 Annual Update
Exhibit to Responses to Six Cities Data Request Set 1 received September 12, 2023
October 3, 2023
Six Cities 1-17
RY 2022: Account 566 - Miscellaneous Transmission Expenses
Item | Value | Vendor | Detail
General Field Operation | 165709 | NV Energy | Overhead costs related to O&M services provided by third party.
Regulatory Asset Amortization | 416795 | N/A | Annual regulatory asset amortization expense.
Other | 2711 | N/A | Misc. supplies
Total | 585215
RY 2021: Account 566 - Miscellaneous Transmission Expenses
Item | Value | Vendor | Detail
General Field Operation | 32387 | NV Energy | Overhead costs related to O&M services provided by third party.
Regulatory Asset Amortization | 416795 | N/A | Annual regulatory asset amortization expense.
Other | 171.59 | N/A | Misc. supplies
Total | 449353.59

## Six Cities 1-18
DesertLink, LLC
2022 Annual Update
Exhibit to Responses to Six Cities Data Request Set 1 received September 12, 2023
October 3, 2023
Six Cities 1-18
RY 2022: Account 570 -Maintenance of Station Equipment
Item | Value | Vendor | Detail
Materials and supplies | 1424.4 | N/A | Supplies used in substation maintenance
Substation maintenance | 36478 | NV Energy | Harry Allen current transformer (CT) replacements
Substation maintenance | 155723 | NV Energy | Substation bus support repair and relay maintenance
Substation maintenance | 54137 | GE Grid Solutions LLC | Long-term maintenance plan for fixed series capacitor
Total | 247762.4
RY 2021: Account 570 -Maintenance of Station Equipment
Item | Value | Vendor | Detail
Substation maintenance | 35516 | NV Energy | Minor substation relay maintenance
Substation maintenance | 51928 | GE Grid Solutions LLC | Long-term maintenance plan for fixed series capacitor
Total | 87444

## Six Cities 1-19
DesertLink, LLC
2022 Annual Update
Exhibit to Responses to Six Cities Data Request Set 1 received September 12, 2023
October 3, 2023
Six Cities 1-19
RY 2022: Account 571 -Maintenance of Overhead Lines
Item | Value | Vendor | Detail
Materials and supplies | 5624.93 | N/A | Supplies used in overhead line maintenance
Internal labor & expenses | 4916 | N/A | Internal labor
OH line maintenance | 457994 | NV Energy | Access road repairs required due to monsoon rain floods
Total | 468534.93
RY 2021: Account 571 -Maintenance of Overhead Lines
Item | Value | Vendor | Detail
Internal labor & expenses | 9484 |  | Internal labor
OH line maintenance | 22652 | NV Energy | Access road repairs required due to monsoon rain floods
Total | 32136

## Six Cities 1-23
DesertLink, LLC
2022 Annual Update
Exhibit to Responses to Six Cities Data Request Set 1 received September 12, 2023
October 3, 2023
Six Cities 1-23
Excluded Costs per Appendix E of the Approved Project Sponsor Agreement
Category 1 - Costs Related to Financing
AFUDC | 17374634.64
Category 2 - Costs Related to Interconnection
Interconnection-related costs | 36266737
Category 5 - Costs Related to Changes in CAISO Requirements
Transposition structures | 389922
Series capacitor rating | 3932610
4322532
Total Excluded Costs | 57963903.64